## Sheet1
Name | Antelope-Vincent On-Peak and Off-Peak Constraint | Vincent-Lugo On-Peak Constraint | Pardee-Sylmar On-Peak Constraint | Windhub On-Peak Constraint | Moorpark-Pardee On-Peak Constraint | North of Magunden On-Peak Constraint | South of Magunden On-Peak Constraint | South of Magunden Off-Peak Constraint | Antelope-Neenach On-Peak Constraint | Antelope-Neenach Off-Peak Constraint | Del Amo – Barre On-Peak Constraint | Hinson - Del Amo On-Peak Constraint | SCE Metro Area Default Constraint | Control to Inyokern Constraint On-Peak Constraint | Kramer - Victor Constraint On-Peak Constraint | Victor – Lugo Constraint On Peak Constraint | Lugo 500/230 kV Transformer On Peak Constraint | Calcite to Lugo Constraint On Peak Constraint | Colorado River 500/230 kV On-Peak/Off-Peak Constraint (230 kV bus only) | Colorado River-Red Bluff On-Peak Constraint | DCRT On-Peak Constraint | Devers-Red Bluff On-Peak/Off-Peak Constraint | Eagle Mountain On-Peak Constraint | Etiwanda-Rancho Vista On-Peak Constraint | Red Bluff 500/230 kV On-Peak/Off-Peak Constraint (230 kV only) | Serrano-Alberhill-Valley On-Peak/Off-Peak Constraint | VEA 138kV On-peak/Off-peak Constraint | GLW 230kV On-peak/Off-peak Constraint | Lugo-Victorville On-peak Constraint | Capistrano-San Onofre 230 kV On-Peak Constraint | Chicarita 138 kV On-Peak Constraint | El Cajon 69 kV On-Peak Constraint | Internal San Diego Area On-Peak/Off-Peak Constraint | Miguel 69 kV On-Peak Constraint | Encina - San Luis Rey 230 kV On-Peak/Off-Peak Constraint | East of Miguel On-Peak/Off-Peak Constraint | San Luis Rey-San Onofre 230 kV On-Peak/Off-Peak Constraint | Ocean Ranch 69 kV On-Peak Constraint | Otay Mesa 230 kV On-Peak Constraint | Silvergate - Bay Blvd 230 kV On-Peak/Off-Peak Constraint | Silvergate-Old Town 230 kV On-Peak Constraint | Talega 230 kV On-Peak Constraint | Trabuco-Capistrano 138 kV On-Peak Constraint | Santa Rosa-Corona 115 kV line On-Peak Constraint | Vaca Dixon - Tesla 500kV line On-Peak Constraint | Woodland-Davis 115 kV line On-Peak Constraint | Cortina-Eagle Rock 115 kV line On-Peak Constraint | Bell-Placer 115 kV line On-Peak Constraint | Carberry-Round mountain 230 kV line On-Peak Constraint | Rocklin-Pleaseant grove 115kV line On-Peak/Off-Peak Constraint | Bellota-Weber 230kV line On-Peak Constraint | Rio Oso-Brighton 230kV line On-Peak Constraint | Rio Oso-Lockeford 230kV line On-Peak Constraint | Humboldt Offshore Wind constraint | Dumbarton-Newark 115 kV line On-Peak Constraint | Eastshore-San Mateo 230 kV line On-Peak Constraint | Lakeville-Igancio 230 kV line On-Peak Constraint | Sobrante-Moraga 230 kV line On-Peak Constraint | Windmaster- Delta Pumps 230 kV line On-Peak Constraint | Contra Costa- Windmaster 230 kV line On-Peak Constraint | Tesla - Tracy Pumps #2 230 kV line On-Peak Constraint | Contra Costa #1 115 kV line On-Peak Constraint | Kasson Jct-Heinz 115 kV line On-Peak Constraint | Newark-Newark Distribution 115 kV line On-Peak Constraint | Tesla-Bellota 230 kV line On-Peak Constraint | Eight Mile-Tesla 230 kV line On-Peak Constraint | Grant - Eastshore #2 115 kV line On-Peak Constraint | Salado - Crow Creek 60 kV line On-Peak Constraint | Tesla - Salado 115 kV line On-Peak Constraint | Los Esteros-Silicon Valley 230 kV On-Peak Constraint | Los Esteros-Nortech 115 kV line On-Peak Constraint | Newark-Los Esteros 230 kV line On-Peak Constraint | Morganhill-Metcalf 115kV Line On-Peak Constraint | Telsa-Tracy Pump #1 230 kV Line On-Peak Constraint | Birds Landing-Contra Costa 230kV Line On-Peak Constraint | Oceano-Calendar 115kV line On-Peak/Off-Peak Constraint | Midway-Q2005 230kV line On-Peak/Off-Peak Constraint | Smyrna - Q1984 115kV line On-Peak/off-Peak Constraint | Kern 230/115kV TB #4 On-Peak Constraint | Maricopa-Copus 70 kV line On-Peak/Off-Peak Constraint | Midway-Taft 115 kV line On-Peak/Off-Peak Constraint | Kern-Tevis-Stockdale-Lamont 115kV line On-Peak/Off-Peak Constraint | Midway 230/115kV TB #3 On-Peak/Off-Peak Constraint | Semitropic-Midway 115kV Line On-Peak/Off-Peak Constraint | Midway-Q2011 230 kV Line On-Peak Constraint | Gates 500/230kV TB #11 On-Peak/Off-Peak Constraint | Gates 500/230kV TB #12 On-Peak/Off-Peak Constraint | Gates 230/70 kV TB #5 On-Peak/Off-Peak Constraint | Tranquility-Helm 230kV Line On-Peak/Off-Peak Constraint | Dairyland-Chowchilla 115kV Line On-Peak/Off-Peak Constraint | Chowchilla-Le grand 115kV Line On-Peak/Off-Peak Constraint | Los Banos 500/230 kV Bank On-Peak/Off-peak Constraint | Panoche-Los Banos 230kV line #2 On-Peak/Off-Peak Constraint | Dos Amigos-Panoche 230kV line On-Peak Constraint | Schindler 115/70kV TB #1 On-Peak/Off-Peak Constraint | Panoche-Mendota 115 kV line On-Peak/Off-Peak Constraint | Coalinga #1-Coalinga #2 70 kV line On-Peak/Off-Peak Constraint | Panoche-Oro Loma 115kV Line On-Peak Constraint | Borden-Storey #1 230kV line On-Peak/Off-Peak Constraint | Merced 115/70kV TB#2 On-Peak/Off-Peak Constraint | Helm 230/70kV TB#1 On-Peak/Off-Peak Constraint | Oro Loma-El Nido 115kV Line On-Peak/Off-Peak Constraint | Diablo–Gates 500 kV line On-Peak/Off-peak Constraint | Mustang-Henrietta 230 kV line On-Peak Constraint | Gates-Panoche 230 kV #1 and #2 Lines On-Peak Constraint | Moss Landing-Las Aguillas 230 kV Line Off-Peak Constraint | Jackson-Waukena-Corcoran 115 kV Line Off-Peak Constraint
Inc | 1500 | 2000 | 1800 | 2500 | 900 | 500 | 2000 | 2000 | 2000 | 2000 | 1058 | 800 | 0 | 186 | 1206 | 1221 | 1178 | 1046 | 1370 | 588 | 3000 | 5000 | 600 | 3350 | 1200 | 4327 | 1367 | 1285 | 6800 | 920 | 700 | 547 | 936 | 431 | 746 | 2823 | 819 | 692 | 2189 | 4754 | 2522 | 2201 | 556 | 703 | 8645 | 109 | 50 | 480 | 26 | 707 | 460 | 574 | 485 | 2000 | 978 | 548 | 861 | 653 | 6034 | 5601 | 3521 | 131 | 1255 | 831 | 300 | 163 | 290 | 74 | 70 | 348 | 160 | 70 | 712 | 4344 | 1766 | 1418 | 16891 | 687 | 179 | 206 | 9 | 367 | 784 | 637 | 234 | 14,825 | 10038 | 47 | 2274 | 1211 | 1211 | 4931 | 6367 | 6367 | 3160 | 2019 | 878 | 588 | 2648 | 358 | 60 | 3192 | 4125 | 2479 | 8379 | 0 | 0
Cost | 13200000 | 85900000 | 660000000 | 612000000 | 600000000 | 1253000000 | 4358000000 | 4358000000 | 100000000 | 100000000 | 11000000 | 28000000 | 0 | 329000000 | 334477554.3493 | 338637722.9357 | 326711906.3213 | 239000000 | 67000000 | 163078608.5882 | 463000000 | 1386722862.1445 | 1182000000 | 89000000 | 69000000 | 1200069964.8999 | 379130030.5103 | 356387775.5711 | 2165000000 | 58100000 | 100000000 | 14700000 | 259594519.7935 | 671054000 | 206899051.032 | 782943727.9668 | 227145204.8193 | 28300000 | 79910000 | 29971000 | 283400000 | 210600000 | 103366000 | 725000000 | 2851848000 | 9329000 | 50000000 | 185000000 | 180000000 | 125000000 | 400000000 | 0 | 0 | 2300000000 | 271242991.8355 | 0 | 0 | 0 | 417332000 | 0 | 0 | 185000000 | 1700000000 | 0 | 0 | 0 | 125000000 | 400000000 | 0 | 96515911.2053 | 0 | 0 | 380000000 | 25000000 | 700000000 | 1008032000 | 940000000 | 220000000 | 30000000 | 620000000 | 0 | 120000000 | 150000000 | 760000000 | 100000000 | 35000000 | 35000000 | 110000000 | 1500000000 | 250000000 | 550000000 | 0 | 1765852892.6549 | 0 | 370000000 | 0 | 0 | 154000000 | 734408427.7918 | 125000000 | 135000000 | 330000000 | 830000000 | 0 | 214062000 | 0 | 0